## Foglio1
n° | Code | Description | 957000003 |  | 957000005 |  | 957000007 |  | 957000031 |  |  |  | 957000041 | [5 empty] | 957000045 | [5 empty] | 957000046 | 957000047 |  |  |  | 957000180 |  |  |  | 957000181
|  |  | CITY BASIC 24 C - 301051158 | CITY BASIC 24 C - 301021048 | CITY PLUS 24 C - 301051162 | CITY PLUS 24 C - 301021051 | CITY PLUS 26 K - 301051340 | CITY PLUS 26 K - 301021141 | CITY MAX 26 K - 301051343 | CITY MAX 26 K - 301021442 | CITY MAX 32 K - 301051344 | CITY MAX 32 K - 301021443 | CITY BASIC 18 F - 301051159 | CITY BASIC 18 F - 301021142 | CITY BASIC 24 F - 301051160 | CITY BASIC 24 F 301021049 | CITY BASIC 28 F - 301051161 | CITY BASIC 28 F - 301021050 | TIME 25 F - 301051345 | TIME 25 F - 301021189 | TIME 30 F - 301051346 | TIME 30 F - 301021190 | TIME 35 F - 301051347 | TIME 35 F - 301021191 | TIME 35 FR - 301021192 | TIME 27 K - 301051348 | TIME 27 K - 301021444 | TIME 35 K - 301051349 | TIME 35 K - 301021445 | CITY PLUS 24 F 301051163 | CITY PLUS 24 F 301021052 | CITY PLUS 30 F - 301051164 | CITY PLUS 30 F - 301021053 | CITY MAX 24 F - 301051341 | CITY MAX 24 F - 301021129 | CITY MAX 30 F - 301051342 | CITY MAX 30 F - 301021130
1 | 500000004 | FLUE HOOD 24 KW |  |  | X | X
2 | 500000023 | FLUE HOOD 24 kW - BIT | X | X
3 | 500000143 | COVER | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | [11 empty] | X | X | X | X
4 | 504000045 | EXPANSION VESSEL | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | [11 empty] | X | X | X | X
5 | 510000098 | BRASS GROUP | X | X | [8 empty] | X | X | X | X | X | X
6 | 515000028 | MAIN EXCHANGER 24 kW |  |  | X | X | [12 empty] | X | X | [9 empty] | X | X |  |  | X | X
7 | 515000030 | MONOTHERMAL EXCHANGER 35 F | [18 empty] | X | X | [9 empty] | X | X |  |  | X | X
8 | 515000031 | MAIN EXCHANGER 24 kW BIT | X | X | [8 empty] | X | X | X | X
9 | 515000032 | MAIN EXCHANGER 28 kW BIT | [14 empty] | X | X
10 | 515000033 | DHW EXCHANGER 12 PLATES |  |  | X | X | [23 empty] | X | X
11 | 515000034 | DHW EXCHANGER 16 PLATES |  |  |  |  | X | X | [23 empty] | X | X
12 | 520000038 | BURNER G20 - 24 kW |  |  | X | X | [12 empty] | X | X | [9 empty] | X | X
13 | 520000051 | BURNER G20 - 24 kW | X | X | [10 empty] | X | X
14 | 520000072 | BURNER G20 - 30 kW | [18 empty] | X | X | [9 empty] | X | X
15 | 520000074 | BURNER G20 - 28 kW | [14 empty] | X | X
16 | 521000035 | 3WAY VALVE ENGINE |  |  | X | X | X | X | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
17 | 522000048 | GAS VALVE NO COND | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
18 | 532000140 | GROMMET D 21 |  |  |  |  | X | X | [10 empty] | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X
19 | 532000068 | OUTLET FAN GASKET | [10 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
20 | 532000081 | INLET FAN GASKET | [10 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
21 | 532000082 | GROMMET D 18 |  |  |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
22 | 532000067 | SPYHOLE SEALED CHAMBER |  |  |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
23 | 532000083 | GROMMET D 14 |  |  |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | X | X | X | X | X | X | X | X
24 | 532000069 | PLASTIC PLUG D 60,5 | [14 empty] | X | X | X | X | [9 empty] | X | X |  |  | X | X
25 | 532000070 | PLASTIC PLUG D 76 |  |  |  |  | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X | X |  |  | X | X |  |  | X | X
26 | 532000071 | IMMERSION PROBE GASKET | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X
27 | 532000084 | GROMMET D 15 | [10 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
28 | 535000073 | FAN 24 kW - BLACK PROBE | [10 empty] | X | X | X | X
29 | 535000075 | FAN 24 kW - RED PROBE | [16 empty] | X | X | [9 empty] | X | X |  |  | X | X
30 | 535000076 | FAN 30 kW - BROWN PROBE | [14 empty] | X | X |  |  | X | X | X | X | X | [6 empty] | X | X |  |  | X | X
31 | 538000066 | FAST CONNECTION PIPE CLIP | X | X | [8 empty] | X | X | X | X | X | X |  |  | X | X | X | X | X | [6 empty] | X | X |  |  | X | X
32 | 538000065 | PUMP CLIP | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
33 | 538000063 | 3WAY VALVE CLIP |  |  | X | X | X | X | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
34 | 540000144 | MANOMETER BRACKET | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
35 | 540000145 | GRID | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | [11 empty] | X | X | X | X
36 | 542000118 | ITALTHERM RESINATE BRAND | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
37 | 545000056 | IMMERSION PROBE 5 SEC | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X
38 | 545000057 | CONTACT PROBE 3 SEC | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
39 | 548000050 | OVERHEAT THERMOSTAT 100/80 - BLUE | X | X | X | X | [6 empty] | X | X | X | X |  |  | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
40 | 548000054 | FLUES THERMOSTAT 75/65 - YELLOW | X | X | X | X
41 | 548000078 | OVERHEAT THERMOSTAT 103/83 - BROWN | [14 empty] | X | X
42 | 548000062 | MANOMETER WITH CAPILLARY | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
43 | 549000061 | AIR PRESSURE SWITCH 1.37/1.24 - GREY | [10 empty] | X | X | X | X | [19 empty] | X | X
44 | 549000039 | AIR PRESSURE SWITCH 0.9/0.74 - ORANGE | [14 empty] | X | X | X | X | [9 empty] | X | X |  |  | X | X
45 | 549000040 | AIR PRESSURE SWITCH 1.08/0.9 - YELLOW | [18 empty] | X | X | X | X | X | [6 empty] | X | X
46 | 549000041 | LOSS OF WATER SWITCH 0.9/0.5 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
47 | 549000007 | FLOWMETER | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | [11 empty] | X | X | X | X
48 | 552000058 | SPARKLING IGNITOR 10 Hz | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
49 | 555000037 | IGNITION/DETECTION ELECTRODE L=140 | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
50 | 560000055 | REFLECTING ADHESIVE PANEL | X | X | X | X
51 | 560000052 | CERAMIC FIBRE 197x142 | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X |  |  | X | X | X |  |  |  |  | X | X |  |  | X | X
52 | 560000053 | CERAMIC FIBRE 288x192 | X | X | [8 empty] | X | X | X | X | X | X
53 | 560000036 | CERAMIC FIBRE 197x113 | [18 empty] | X | X | [9 empty] | X | X |  |  | X | X
54 | 560000006 | CERAMIC FIBRE 308x192 |  |  | X | X | [12 empty] | X | X | X | X | [7 empty] | X | X | X | X
55 | 240001535 | DHW EXCHANGER O-RING |  |  | X | X | X | X | [10 empty] | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X
56 | 241017040 | PUMP O-RING | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
57 | 241017828 | O-RING PIPE | X | X |  |  | X | X | X | X | X | X | X | X | X | X | X | X |  |  | X | X | X | X | X | X | X | X | X |  |  | X | X |  |  | X | X
58 | 250100101 | PUMP 5M | X | X | X | X | [6 empty] | X | X | X | X | [13 empty] | X | X |  |  | X | X
59 | 250100102 | PUMP 6M |  |  |  |  | X | X | X | X | [6 empty] | X | X | [13 empty] | X | X |  |  | X | X
60 | 255000001 | SAFETY 3 BAR VALVE | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
61 | 264070040 | SILICON PIPE WHITE 4x7 (1MT) |  |  |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
62 | 264101058 | SILICON PIPE RED 5x8 (1MT) | [10 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
63 | 280001503 | NEOPRENE 15x3 (1MT) |  |  |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
64 | 540000123 | PLASTIC PANEL CITY BASIC | X | X | [8 empty] | X | X | X | X | X | X
65 | 540000124 | PLASTIC PANEL CITY PLUS |  |  | X | X | X | X | [21 empty] | X | X | X | X
66 | 540000125 | FLAP CITY PLUS |  |  | X | X | X | X | X | X | X | X | [17 empty] | X | X | X | X | X | X | X | X
67 | 540000126 | KNOB | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
68 | 540000127 | CONTROL PANEL CLOSURE | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
69 | 540000091 | SEEGER FOR KNOB | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
70 | 538000128 | PUSH PUSH CLOSURE |  |  | X | X | X | X | X | X | X | X | [17 empty] | X | X | X | X | X | X | X | X
72 | 552000130 | LCD PCB | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
73 | 550000132 | WIRING LOOM CITY BASIC F | [10 empty] | X | X | X | X | X | X
74 | 550000133 | WIRING LOOM CITY PLUS C |  |  | X | X
75 | 550000134 | WIRING LOOM CITY PLUS F | [27 empty] | X | X | X | X
76 | 511000014 | DISCHARGE PLUG | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
81 | 520000227 | BURNER G20 - 18 KW | [10 empty] | X | X
82 | 555000228 | IGNITION ELECTRODE 18kW | [10 empty] | X | X
83 | 800000001 | FAN PROBE 24 kW - RED | [16 empty] | X | X | [9 empty] | X | X |  |  | X | X
84 | 800000002 | FAN PROBE 30 kW - BROWN | [14 empty] | X | X |  |  | X | X | X | X | X | [6 empty] | X | X |  |  | X | X
85 | 800000003 | FAN PROBE 24 kW - BLACK | [10 empty] | X | X | X | X
86 | 800000004 | FAN PROBE 24 kW - METALLIC | [10 empty] | X | X | X | X
87 | 801000001 | REED CONTACT FLOWMETER | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | [11 empty] | X | X | X | X
88 | 802000001 | AUTO AIR VENT ON PUMP | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
89 | 803000002 | FILLING-IN PLUG | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
90 | 803000004 | BY-PASS | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
91 | 803000009 | BRASS GROUP |  |  | X | X | X | X | [21 empty] | X | X | X | X
92 | 803000014 | 3WAY VALVE COMPLETE |  |  | X | X | X | X | [21 empty] | X | X | X | X
93 | 803000015 | REPAIR KIT FOR 3WAY VALVE |  |  | X | X | X | X | X | X | X | X | [6 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
103 | 550000131 | WIRING LOOM CITY BASIC C | X | X
104 | 264100058 | WHITE SILICON PIPE 5x8 (1MT) | [10 empty] | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  |  |  | X | X | X | X | X | X | X | X
105 | 540000191 | PLASTIC PANEL CITY PLUS FR-CITY MAX | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
106 | 552000221 | PCB | X | X | X | X | X | X | X | X | X | X
108 | 235041110 | GASKET MANOMETER | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
119 | 522000164 | GAS VALVE COND |  |  |  |  | X | X | X | X | X | X
122 | 552000190 | SPARKLING IGNITOR 25 HZ |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
123 | 803000006 | ONE WAY VALVE ø15 | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
124 | 521000380 | AUTOMATIC WATER FILL-IN VALVE | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
126 | 565000178 | VENTURI SIT - WHITE |  |  |  |  | X | X | X | X
127 | 538000169 | ISOTERMIC CLIP |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
128 | 548000176 | OVERHEAT THERMOSTAT 95/75 - PURPLE |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
129 | 401120009 | SIPHON KIT |  |  |  |  | X | X | X | X | X | X
130 | 538000181 | SIPHON PIPE SPRING |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
131 | 550000192 | WIRING LOOM CITY PLUS K |  |  |  |  | X | X
132 | 520000160 | ISOTHERMIC GROUP 3+1 |  |  |  |  | X | X | X | X | [15 empty] | X | X
133 | 545000175 | ISOTHERMIC FLUE FUSE - 111°C |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
135 | 532000180 | FAN COND GASKET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
136 | 540000195 | COND FLUE OUTLET FLANGE |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
137 | 532000194 | FLUE OUTER FLANGE STOPPER |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
138 | 532000189 | OVAL GROMMET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
154 | 540000421 | PLASTIC PANEL BITHERMIC II
155 | 540000428 | PLASTIC PANEL MONOTHERMIC II
156 | 540000430 | FLAP MONOTHERMIC II
157 | 550000429 | WIRING LOOM SE MONOTHERMIC
158 | 550000422 | WIRING LOOM E BITHERMIC
159 | 550000433 | WIRING LOOM SE BITHERMIC
160 | 500000434 | COVER
161 | 542000436 | TIBERIS RESINATE BRAND
162 | 547000378 | MANOMETER 1/8" | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
164 | 535000226 | CONDENSING FAN |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
165 | 532000167 | SILICON GASKET K - D 60 |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
167 | 805000001 | BURNER COND 3+1 |  |  |  |  | X | X | X | X | [15 empty] | X | X
168 | 805000002 | BURNER COND 4+1 | [8 empty] | X | X | [15 empty] | X | X
169 | 805000003 | CONVEYOR AIR/GAS MIXURE |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
170 | 805000004 | OUTLET ISOTERMIC GASKET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
171 | 805000005 | BURNER ISOTHERMIC GASKET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
173 | 533000381 | GASKET WITH FILTER 1/2" | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
174 | 805000008 | ISOTHERMIC CLOUSURE INSULATOR |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
175 | 805000009 | BACK ISOTHERMIC INSULATOR |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
176 | 805000010 | CLOUSURE ISOTHERMIC NUT |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
177 | 805000011 | BURNER COND 2+1
178 | 805000012 | ISOTHERMIC TORX SCREW |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
179 | 805000013 | DETECTION ELECTRODE GASKET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
180 | 805000014 | IGNITION ELECTRODE GASKET |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
181 | 805000015 | DETECTION ELECTRODE K |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
182 | 805000016 | IGNITION ELECTRODE K |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
183 | 805000017 | DETECTION ELECTRODE K 18kW
184 | 805000018 | IGNITION ELECTRODE K 18kW
185 | 520000247 | ISOTHERMIC GROUP 2+1
186 | 401120001 | ISOTHERMIC GASKETS KIT |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
189 | 525000445 | TANK 60LT | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
190 | 550000462 | WIRING LOOM K FOR INTERNAL
197 | 532000165 | GASKET NEOPRENE ø125 |  |  |  |  | X | X | X | X | X | X | [13 empty] | X | X | X | X
202 | 550000481 | WIRING LOOM SE WITH TANK | [31 empty] | X | X | X | X
203 | 550000482 | WIRING LOOM K WITH TANK | [6 empty] | X | X | X | X
205 | 550000484 | WIRING LOOM K WITH TANK
206 | 550000485 | WIRING LOOM SE WITH TANK
207 | 540000483 | PLASTIC PANEL BOILER WITH TANK II
209 | 250100103 | PUMP 7M | [8 empty] | X | X
210 | 255000002 | SAFETY 8 BAR VALVE | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
211 | 280001003 | NEOPRENE 10x3 (1MT) | [6 empty] | X | X | X | X
212 | 280002002 | NEOPRENE 20x2 (1MT) | [31 empty] | X | X | X | X
213 | 500000269 | SIDE COVER | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
214 | 500000270 | FRONTAL COVER | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
215 | 500000318 | FRONTAL COVER
216 | 504000280 | EXPANSIONE VESSEL 10LT (tank) | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
217 | 504000281 | WATER VESSEL 2LT | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
218 | 520000206 | ISOTHERMIC GROUP 4+1 | [8 empty] | X | X | [15 empty] | X | X
219 | 520000286 | BURNER G20 - 24kW - 13 R | [31 empty] | X | X
221 | 520000288 | BURNER G20 - 30kW - 14 R | [33 empty] | X | X
223 | 521000285 | MANUAL AIR VENT VALVE | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
224 | 540000346 | GRID | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
225 | 545000283 | TANK PROBE 3 SEC | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
226 | 560000282 | CERAMIC FIBRE 177x142 | [31 empty] | X | X
227 | 560000316 | CERAMIC FIBRE 177x113 | [33 empty] | X | X
228 | 560000343 | CERAMIC FIBRE 192x308 | [31 empty] | X | X | X | X
229 | 565000217 | VENTURI SIT - ORANGE | [8 empty] | X | X
230 | 521000357 | FLOW REGULATOR 15 LT/m | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
231 | 510000356 | BRASS TANK GROUP | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
237 | 803000017 | BRASS GROUP FR/KR FOR INTERNAL | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
238 | 803000001 | 3WAY VALVE COMPLETE FR/KR | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
239 | 803000026 | DISCHARGE PLUG 3/4" | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
240 | 809000001 | ANODE L= 230 mm | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
241 | 809000002 | TANK FLANGE GASKET | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
245 | 235112420 | GASKET TANK GROUP | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
246 | 808000002 | GAS VALVE COILS | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
252 | 234121820 | GASKET HIGH TEMP 1/2"
253 | 500000555 | SIDE COVER | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
254 | 500000556 | FRONTAL PANEL | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
255 | 540000558 | PLASTIC PANEL TIME | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
256 | 540000559 | CONTROL PANEL CLOSURE | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
257 | 540000562 | GRID | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
258 | 560000584 | CERAMIC FIBRE 358X142 | [20 empty] | X | X | X
259 | 515000585 | MAIN EXCHANGER 35 kW | [20 empty] | X | X | X
260 | 520000586 | BURNER G20 - 35 kW - 15 R | [20 empty] | X | X | X
263 | 540000593 | SEALED CHAMBER 35 kW CLOSURE | [25 empty] | X | X
264 | 510000616 | RETURN BRASS GROUP | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
265 | 510000617 | FLOW BRASS GROUP | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
267 | 521000619 | BY-PASS | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
268 | 515000620 | DHW EXCHANGER 22 PLATES | [16 empty] | X | X | X | X |  |  |  | X | X
269 | 515000621 | DHW EXCHANGER 28 PLATES | [20 empty] | X | X |  |  |  | X | X
270 | 572000622 | DHW EXCHANGER INSULATION | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
271 | 549000623 | PRESSURE TRANSDUCER | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
272 | 565000631 | MIXER 27 K - NG | [23 empty] | X | X
273 | 510000643 | FLOW BRASS GROUP | [22 empty] | X
274 | 510000644 | RETURN BRASS GROUP | [22 empty] | X
276 | 538000652 | EXPANSION VESSEL PIPE FIXING CLIP | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
277 | 550000655 | WIRING LOOM TIME F | [16 empty] | X | X | X | X | X | X
278 | 552000656 | DISPLAY | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
279 | 552000657 | CONTROL PANEL KEYBOARD | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
280 | 540000658 | CONTROL PANEL PIVOT PIN | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
282 | 550000662 | WIRING LOOM TIME-SMILE K | [23 empty] | X | X | X | X
283 | 565000663 | MIXER 35 K - NG | [25 empty] | X | X
287 | 550000670 | WIRING LOOM TIME FR | [22 empty] | X
294 | 500000561 | FRONTAL PANEL 2
295 | 540000570 | CONTROL PANEL SMILE SOLAR
296 | 540000589 | CONTROL PANEL FRAME SMILE SOLAR
297 | 552000667 | CONTROL PANEL KEYBOARD
299 | 504000564 | EXPANSION VESSEL 10Lt | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
300 | 500000684 | COVER
301 | 500000685 | FRONTAL COVER
302 | 540000686 | PLASTIC PANEL BITHERMIC III
305 | 540000691 | PLASTIC PANEL MONOTHERMIC III
306 | 540000695 | PLASTIC PANEL BOILER WITH TANK III
307 | 540000698 | FLAP MONOTHERMIC III
308 | 532000209 | SEALED CHAMBER 35 KW WASHER | [25 empty] | X | X
316 | 521000517 | DIVERTER VALVE ENGINE
321 | 513000651 | DISCHARGE PLUG | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
322 | 241009126 | EXPANSION VESSEL PIPE O-RING | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
323 | 250100401 | PUMP 5M | [16 empty] | X | X
324 | 250100402 | PUMP 6M | [18 empty] | X | X
325 | 250100403 | PUMP 7M | [20 empty] | X | X | X
326 | 250100404 | MODULATION PUMP 7M | [23 empty] | X | X | X | X
327 | 532000614 | GROMMET D14 FOR 35 KW | [25 empty] | X | X
328 | 803000041 | TURBINE FILTER | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
329 | 241020317 | TURBINE FILTER O-RING | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
330 | 540000702 | SIPHON | [23 empty] | X | X | X | X
331 | 549000703 | TURBINE | [16 empty] | X | X | X | X | X | X |  | X | X | X | X
332 | 522000688 | COND GAS VALVE | [23 empty] | X | X | X | X
333 | 552000710 | PCB | [16 empty] | X | X | X | X | X | X | X | X | X | X | X
334 | 241063030 | CONDENSING FAN O-RING | [23 empty] | X | X | X | X
353 | 545000547 | EXTERNAL TANK PROBE
361 | 550000954 | WIRING LOOM C WITH TANK
362 | 234172420 | GASKET HIGH TEMP 3/4"
363 | 234223020 | GASKET HIGH TEMP 1"
365 | 815000002 | SOLAR PUMP GROUP - FLOWMETER 2-12 l/min
367 | 815000004 | SOLAR PUMP GROUP MANOMETER
495 | 532000724 | RUBBER CAP ø100
496 | 500000794 | SIDE COVER 50/70kW
497 | 560000850 | INSULATING SIDE PANEL 50/70kW
498 | 560000849 | INSULATING FRONTAL PANEL 50/70kW
499 | 500000795 | COVER 50/70kW
500 | 560000851 | INSULATING COVER SIDE 50/70kW
501 | 565000806 | MIXER 50 kW - NG
502 | 565000807 | MIXER 70 kW - NG
503 | 241069835 | O-RING 69.85x3.53 70 KW
504 | 532000960 | GASKET INLET AIR PIPE ø50 - 50KW
505 | 532000962 | GASKET AIR INLET PIPE ø60 - 70KW
506 | 552000859 | SPARKLING IGNITOR50 Hz
507 | 520000735 | ISOTHERMIC GROUP 6+1
508 | 520000784 | ISOTHERMIC GROUP 7+2
509 | 535000738 | CONDENDING FAN 50KW
510 | 535000739 | CONDENSING FAN 70 - 90 KW
511 | 511000754 | AIR VALVE NIPPLE + O-Ring 50/70 KW
512 | 538000170 | AIR VALVE FIXING SPRING 50/70 KW
513 | 521000860 | AIR VALVE 50/70 KW
515 | 540000846 | DISCHARGE FLUES STUB PIPE 50/70 KW
516 | 532000809 | NEOPRENE GASKET D.125 (WHITE)
517 | 255000003 | SAFETY 3 BAR VALVE 50/70 kW
518 | 241019031 | O-RING 19x3.15 - 70 KW
519 | 511000853 | PUMP CAP 50 KW
520 | 250112501 | PUMP 70 KW
521 | 540000740 | SIPHONE 50/70 KW
522 | 540000759 | SIPHONE PLASTIC CONNECTION 50/70 KW
523 | 550000841 | WIRING LOOM 50/70 KW
524 | 552000890 | PCB
528 | 805000019 | ISOTHERMIC CLOUSURE INSULATOR 50-70 KW
529 | 805000020 | CONVEYOR AIR/GAS MIXURE 50-70 KW
530 | 805000021 | BURNER 50 KW
531 | 805000022 | BURNER 70 KW
532 | 805000023 | DETECTION ELECTRODE
533 | 805000024 | IGNITION ELECTRODE
534 | 565001055 | MIXER 50 kW - LPG
535 | 565001056 | MIXER 70 kW - LPG
536 | 540000886 | AIR INLET STUB PIPE 50/70 KW
537 | 560000852 | INSULANCE PANEL 400X675 mm
538 | 500001119 | FLOOR STANDING BOILER RIGHT SIDE COVER
539 | 500001120 | FLOOR STANDING LEFT SIDE COVER
540 | 500001121 | FLOOR STANDING FRONTAL COVER
541 | 540001158 | FLOOR STANDING KEYBOARD FRAME I
542 | 500001122 | FLOOR STANDING UPPER CLOUSURE
543 | 525001143 | FLOOR STANDING TANK 120 LT
544 | 533000172 | INLET WATER PLASTIC FILTER
545 | 504001148 | WATER VESSEL 5 LT
546 | 510001075 | FLOOR STANDING HEATING BRASS GROUP
547 | 255000006 | FLOOR STANDING - SAFETY 3 BAR VALVE
548 | 511001076 | FLOOR STANDING - 3 BAR VALVE DOWEL
549 | 504001149 | EXPANSION VESSEL 12 LT
550 | 521001150 | 3 WAY VALVE BODY
551 | 533001078 | FLOOR STANDING - "Y" FILTER 1"
552 | 540001090 | FLOOR STANDING - ADJUSTABLE FOOT
553 | 540001160 | FLOOR STANDING I - PLASTIC ELECTRIC BOX
554 | 550001164 | TIME COMPACT WIRING LOOM
555 | 540001162 | FLOOR STANDING - ELECTRIC BOX CUP
556 | 500001118 | FLOOR STANDING - CONNECTION SIDE COVER
557 | 510001074 | FLOOR STANDING - SANITARY BRASS GROUP
561 | 810000001 | FLOOR STANDING - 3WAY VALVE PISTON
562 | 809000008 | FLOOR STANDING - ANODE L= 450 mm
566 | 809000009 | FLOOR STANDING TANK FLANGE GASKET
569 | 500000828 | SIDE COVER 90/115 kW
570 | 560000865 | INSULATING SIDE PANEL 90/115 kW
571 | 500000829 | FRONTAL COVER 90/115 kW
572 | 560000864 | INSULATING FRONTAL PANEL 90/115 kW
573 | 500000808 | COVER 90/115 kW
574 | 560000866 | INSULATING COVER PANEL 90/115 kW
575 | 511000811 | GAS VALVE FLANGE 90/115 kW
576 | 240000134 | O-RING 25.8x3.53
577 | 522000810 | GAS VALVE 90/115 kW
578 | 565001173 | MIXER 90 kW - NG
579 | 540001079 | MIXER ADAPTER 90 kW
580 | 520000786 | DUO GROUP 10+6
581 | 545001081 | FLUES PROBE ISOTHERMIC 90/115 kW - 102°C
582 | 511001082 | CAP M 1/8"G 90/115 kW
583 | 560000921 | UPPER INSULATING 90/115 kW
584 | 560000922 | LOWER INSULATING 90/115 kW
585 | 560000832 | FRONTAL INSULATING 90/115 kW
586 | 560000833 | BACK INSULATING 90/115 kW
587 | 540000848 | FLUE STUB PIPE 90/115 kW
588 | 540001083 | AIR INLET GRID ø100 90/115 kW
589 | 549001087 | PRESSURE TRANSDUCER 90/115 kW
590 | 255000007 | SAFETY 4.5 BAR VALVE 90/ kW
591 | 250112601 | PUMP 90/115 kW
592 | 545001084 | CONTACT PROBE 3 SEC. 90/115 kW
593 | 540000919 | SIPHON REDUCTION PLUG 90 Kw
594 | 540000831 | CONTROL PANEL FRAME 90/115 kW
595 | 540000891 | CONTROL PANEL CLOSURE 90/115 kW
596 | 552001088 | SECOND PCB 90/115 kW
597 | 550000842 | WIRING LOOM 90/115 kW
598 | 540000830 | PLASTIC PANEL 90/115 kW
599 | 511001089 | CONTROL PANEL REVOLVING PLUG 90/115 kW
600 | 565000867 | MIXER 90kW - LPG
601 | 565000868 | MIXER 115 kW - NG
602 | 565001182 | MIXER 115 kW - LPG
603 | 540001086 | MIXER ADAPTER 115 kW
604 | 560000834 | UPPER INSULATION 115 kW
605 | 560000835 | LOWER INSULATING 115 kW
606 | 535000812 | FAN 115 kW
607 | 540000920 | SIPHON REDUCTION PLUG 115 Kw
609 | 808000003 | EV1 GAS VALVE COIL 90/115 kW
610 | 808000004 | EV2 GAS VALVE COIL 90/115 kW
611 | 805000025 | ISOTHERMIC 90-115 kW TORX SCREW
612 | 805000026 | CONVEYOR AIR/GAS MIXURE 90-115 kW
613 | 805000028 | ISOTHERMIC CLOUSURE INSULATOR 90-115 KW
614 | 805000029 | BURNER 90-115 kW
615 | 805000030 | ISOTHERMIC FLUE FUSE - 318°C
616 | 805000031 | MANUAL FLUES THERMOST. 90-115 kW - 260°C
618 | 805000033 | OUTLET ISOTHERMIC GASKET 90-115 kW
621 | 401120005 | ISOTHERMIC 90/115 kW GASKETS KIT
622 | 520000790 | DUO GROUP 12+6
623 | 500001178 | FRONTAL METAL PANEL 90/115 kW
624 | 540001177 | PLASTIC PANEL 90/115 kW
625 | 401120006 | BACK INSULATING KIT 90-115 kW
626 | 500001052 | INLET AIR GRID ø80
627 | 540001053 | MIXER ADAPTER 50kW
628 | 540001054 | MIXER ADAPTER 70kW
633 | 510000799 | GAS BRASS GROUP 50/70 kW
634 | 505000857 | AIR VALVE PIPE 90/115 kW
635 | 500001210 | SOLAR FLOOR BOILER CONNECTION SIDE
636 | 500001211 | SOLAR FLOOR BOILER RIGHT SIDE
637 | 500001212 | SOLAR FLOOR BOILER LEFT SIDE
638 | 500001213 | SOLARE FLOOR BOILER FRONTAL CASE
639 | 500001239 | SOLAR FLOOR BOILER TOP COVER
640 | 525001241 | 200 lt. TANK FOR FLOOR SOLAR BOILER
641 | 521001265 | ONE-WAY VALVE Ø 20
642 | 521000863 | SOLAR MIX VALVE 3/4"
643 | 504001266 | HYDRAULIC EXPANSION 6 lt.
644 | 504001267 | EXPANSION VESSEL 12 lt.
645 | 521001295 | AUTO AIR VENT 3/4"
646 | 250100701 | SOLAR UPM3 PUMP
647 | 255000010 | WATER SAFETY VALVE 6 BAR
648 | 521001264 | ONE-WAY VALVE FOR SOLAR MANOMETER
649 | 504001034 | SOLAR EXPANSION VESSEL 18 lt.
650 | 550001290 | WIRIING LOOM SOLAR FLOOR BOILER
651 | 510001270 | FLOOR SOLAR BOILER RETURN VALVE
652 | 510001251 | FLOOR SOLAR BOILER BRASS GROUP
653 | 511001230 | FLOOR SOLAR BOILER VESSEL CONNECTION
654 | 565001271 | MIXER 18 kW- NG - FLOOR SOLAR BOILER
655 | 552001246 | FLOOR SOLARE PCB
660 | 250100405 | ErP PUMP CONNECTION 180° | [23 empty] | X | X | X | X
672 | 550001320 | WIRING LOOM TIME-SMILE K - ErP | [23 empty] | X | X | X | X
674 | 550001331 | WIRING LOOM COMPACT-SMILE TK - ErP
675 | 550001334 | WIRING LOOM SOLAR-SMILE SOLAR - ErP
676 | 550001337 | WIRING LOOM 50 kW - ErP
685 | 545001274 | SOLAR PROBE
712 | 500001396 | SIDE PANEL 160kW
713 | 500001397 | COVER 160kW
714 | 560001400 | INSULATING SIDE PANEL 160 kW
715 | 560001401 | INSULATING COVER PANEL 160 kW
716 | 560001402 | TOP INSULATING 160 kW
717 | 560001403 | BOTTOM INSULATING 160kW
718 | 500001404 | AIR INLET CONNECTION 160kW
719 | 520001405 | DUO GROUP 15+6 - 160 kW
720 | 511001411 | MTN DIAPHGRAM 160 kW
721 | 511001412 | LPG DIAPHGRAM 160 kW
722 | 532001415 | FAN GASKET 160 kW
723 | 250112602 | PUMP 160 kW
724 | 522001478 | GAS VALVE 160 kW
725 | 522001414 | FAN AND GAS VALVE 160 kW
726 | 550001410 | WIRING LOOM 160 kW
823 | 809000013 | 60 LT TANK FLANGE COMPLETE | [6 empty] | X | X | X | X | [21 empty] | X | X | X | X
888 | 542001716 | ITALTHERM SHAPED BRAND
889 | 535001818 | CONDENSING FAN 160 kW
891 | 510001538 | FLOW BRASS GROUP
892 | 510001539 | RETURN BRASS GROUP
893 | 538001567 | FIXING SPRING FOR FLOW BRASS GROUP
894 | 535001666 | CONDENSING FAN
895 | 538001568 | FIXING SPRING FOR EXP. VESSEL PIPE
896 | 532001658 | CONTROL PANEL SILICON PLUG
897 | 532001659 | 6 BUTTONS WHITE KEYBOARD
900 | 522001665 | SGV GAS VALVE
901 | 552001668 | PCB
902 | 500001683 | COVER
904 | 540001691 | CONTROL PANEL LOCK BRACKET
905 | 540001692 | FLUES SPLITTER
906 | 540001693 | GG PLASTIC PANEL
907 | 540001694 | GG CONTROL PANEL CLOSURE
908 | 540001696 | CITY CLASS AESTHETIC WHITE PANEL
911 | 540001701 | SYPHON
913 | 538001710 | 3 BAR SAFETY VALVE CLIP
914 | 549001711 | FLOWSTAT
915 | 801000003 | REED CONTACT
916 | 532001712 | SPLIT PIPE FLANGE GASKET
917 | 520001713 | CONDCEL MAIN EXCHANGER 30kW
918 | 520001714 | CONDCEL MAIN EXCHANGER K - 25kW
919 | 540001715 | COVER FIXING KNOB
920 | 540001729 | INLET AIR PIPE ADAPTER
921 | 538001732 | INLET AIR PIPE METAL TIE
923 | 506001739 | FLEXIBLE INLET AIR PIPE
924 | 515001743 | DHW EXCHANGER 12 PLATES
925 | 515001744 | DHW EXCHANGER 16 PLATES
927 | 242015435 | GAS VALVE PIPE O-RING
928 | 532001747 | PLASTIC PLUG FOR VENT SPOT ON MIXER
929 | 511001748 | GAS VALVE NOZZLE ø6 25-35 kW
930 | 241014030 | EXP. VESSEL PIPE O-RING
931 | 255000011 | SAFETY 3 BAR VALVE
933 | 511001765 | GAS VALVE NOZZLE ø5.6 - 30 kW
943 | 515001804 | DHW EXCHANGER 20 PLATES
945 | 510001809 | FLOW BRASS GROUP
946 | 510001810 | RETURN BRASS GROUP
947 | 510001811 | ONLY CH BRASS GROUP
949 | 818000001 | BURNER 25 kW - ø63
950 | 818000002 | BURNER 30 kW - ø70
951 | 818000003 | IGNITION/DETECTION ELECTRODE
952 | 818000005 | SILICON 25 kW CONDENSING CHAMBER GASKET
953 | 818000006 | BURNER 25 kW GASKET
954 | 818000007 | FRONT INSULATION 25 kW
955 | 818000009 | IGNITION/DETECTION ELECTRODE GASKET
956 | 818000012 | SPYHOLE SEALED CHAMBER GASKET
957 | 818000014 | SILICON 30-35 kW CONDENS CHAMBER GASKET
958 | 818000015 | BURNER 30-35 kW GASKET
959 | 818000016 | FRONT INSULATION 30-35 kW
960 | 818000018 | BACK INSULATION 25 kW
961 | 818000019 | BACK INSULATION 30-35 kW
962 | 818000020 | OUTLET FLUES GASKET
963 | 803000075 | REPAIR KIT 3WAY VALVE 25/30/35K-30/35F
964 | 401120011 | MIXER KIT 25-35 kW
965 | 401120012 | MIXER KIT 30 kW
967 | 288148371 | INLET AIR PIPE NYLON TIE
969 | 802000002 | AUTO AIR VENT ON PUMP
1169 | 818000021 | SPYHOLE CONDCELL GLASS
1170 | 818000022 | SPYHOLE CONDCELL COVER PLATE
1173 | 515001943 | MONOTHERMAL EXCHANGER 20-25 F
1174 | 515001944 | MONOTHERMAL EXCHANGER 30 F
1175 | 515001834 | MONOTHERMAL EXCHANGER 24-28 C
1176 | 515001740 | DHW EXCHANGER 10 PLATES
1178 | 560001730 | CERAMIC FIBRE 243x202
1179 | 560001731 | CERAMIC FIBRE 197x155
1180 | 560001892 | CERAMIC FIBRE 278x202
1181 | 560001872 | CERAMIC FIBRE 308x202
1182 | 535001755 | TRADITIONAL FAN
1183 | 535001757 | TRADITIONAL FAN 35kW
1184 | 510001679 | FLOW BRASS GROUP
1185 | 522001735 | GAS VALVE NO COND
1186 | 532001854 | GROMMET D 15
1187 | 549001851 | AIR PRESSURE SWITCH 1.98/1.68 -25-35 F
1188 | 549001852 | AIR PRESSURE SWITCH 2.38/2.60 -30 F
1189 | 250100301 | PUMP 5M
1190 | 250100302 | PUMP 6M
1191 | 250100303 | PUMP 7M
1192 | 555001837 | IGNITION/DETECTION ELECTRODE
1193 | 550001898 | WIRING LOOM MONOTHERMAL C
1194 | 550001899 | WIRING LOOM MONOTHERMAL F
1195 | 540001900 | MONOTHERMAL PLASTIC PANEL
1196 | 540001901 | MONOTHERMAL PLASTIC PANEL CLOUSURE
1197 | 540001902 | 2 BUTTONS AESTHETIC DARK GREY PANEL
1198 | 540001903 | DARK GREY KNOBS
1199 | 552001904 | PCB FOR "F" MODEL
1200 | 532001905 | 2 BUTTONS DARK GREY KEYBOARD
1201 | 803000076 | REPAIR KIT FOR 3WAY VALVE 20/25F
1202 | 520001835 | BURNER G20 - 24-28 C
1204 | 520001841 | BURNER G20 - 25 F
1205 | 520001843 | BURNER G20 - 30 F
1206 | 520001845 | BURNER G20 - 35 F
1207 | 500001794 | FLUE HOOD 24 KW
1208 | 500001820 | FLUE HOOD 28 KW
1209 | 800000006 | FAN PROBE 24 - 30 kW
1210 | 800000007 | FAN PROBE 35 kW
1211 | 550001876 | WIRING LOOM MONOTHERMAL K no ErP
1214 | 520001847 | CONDCEL MAIN EXCHANGER - 35kW
1215 | 818000023 | BURNER 35 kW - ø70
1218 | 552001871 | SPARE PCB | [10 empty] | X | X | X | X | X | X | [11 empty] | X | X | X | X | X | X | X | X
1220 | 504000887 | EXPANSION VESSEL 10 lt.
1221 | 550001952 | WIRING LOOM MONOTHERMAL KR no Erp
1222 | 803000077 | REPAIR KIT FOR 3WAY VALVE FR/KR